## 1_Sensor_Readings
SENSOR READINGS LOG — 15-minute intervals (1 day prototype)
Timestamp | Solar Output (kW) | Battery SOC (%) | Thermal Temp (°C) | Spot Price (€/kWh) | Home Load (kW) | Irradiance (W/m²) | Wind Speed (m/s) | Ambient Temp (°C) | Grid Frequency (Hz) | Data Quality
2025-06-12 | 0.02 | 73 | 60.5 | 0.181 | 1.75 | 0 | 4.7 | 12.4 | 50.036 | OK
2025-06-12 00:15 | 0.08 | 72 | 58.7 | 0.18 | 0.88 | 0 | 2.2 | 13.9 | 50.05 | OK
2025-06-12 00:30 | 0 | 71 | 58.5 | 0.179 | 2.06 | 21 | 3.8 | 12 | 50.023 | OK
2025-06-12 00:45 | 0 | 73 | 59.1 | 0.181 | 2 | 0 | 1.7 | 12.1 | 50.017 | OK
2025-06-12 01:00 | 0 | 67 | 59.5 | 0.165 | 2.01 | 0 | 6.6 | 12.8 | 49.973 | OK
2025-06-12 01:15 | 0.18 | 68 | 60 | 0.167 | 2.08 | 0 | 3.4 | 12.8 | 49.973 | OK
2025-06-12 01:30 | 0 | 70 | 60.2 | 0.167 | 1.55 | 0 | 5.4 | 13 | 50.024 | OK
2025-06-12 01:45 | 0.05 | 69 | 58 | 0.169 | 2.18 | 27 | 2 | 12.5 | 49.974 | OK
2025-06-12 02:00 | 0 | 64 | 57.3 | 0.16 | 1.67 | 12 | 4 | 14.1 | 49.961 | OK
2025-06-12 02:15 | 0 | 66 | 58.5 | 0.157 | 0.99 | 8 | 5.1 | 13.5 | 50.007 | OK
2025-06-12 02:30 | 0.12 | 67 | 59.3 | 0.159 | 1.21 | 12 | 4.9 | 13.7 | 50.011 | OK
2025-06-12 02:45 | 0.05 | 67 | 58.7 | 0.158 | 1.31 | 0 | 4.4 | 13.3 | 50.016 | OK
2025-06-12 03:00 | 0.1 | 59 | 56.4 | 0.145 | 1.62 | 4 | 3.7 | 14.7 | 50.048 | OK
2025-06-12 03:15 | 0.09 | 62 | 55.7 | 0.151 | 1.06 | 0 | 6.9 | 14.1 | 49.999 | OK
2025-06-12 03:30 | 0 | 60 | 56.3 | 0.153 | 1.1 | 0 | 3.2 | 14.1 | 49.97 | OK
2025-06-12 03:45 | 0.05 | 62 | 58.4 | 0.151 | 0.83 | 0 | 5.3 | 15.5 | 49.969 | OK
2025-06-12 04:00 | 0 | 57 | 57.4 | 0.15 | 1.54 | 0 | 2.5 | 15.1 | 49.966 | OK
2025-06-12 04:15 | 0 | 59 | 57.2 | 0.151 | 1.2 | 0 | 4.8 | 16.4 | 49.972 | OK
2025-06-12 04:30 | 0 | 59 | 55.7 | 0.154 | 1.71 | 4 | 2 | 16.3 | 50.001 | OK
2025-06-12 04:45 | 0 | 56 | 54.8 | 0.15 | 1.44 | 0 | 6.1 | 16.4 | 49.985 | OK
2025-06-12 05:00 | 0.12 | 55 | 56.2 | 0.156 | 1.7 | 0 | 6.8 | 15.9 | 49.969 | OK
2025-06-12 05:15 | 0 | 54 | 54.8 | 0.163 | 1.63 | 0 | 2 | 16.1 | 50.018 | OK
2025-06-12 05:30 | 0.1 | 54 | 55 | 0.163 | 1.5 | 0 | 6.3 | 17.3 | 49.952 | WARN
2025-06-12 05:45 | 0.04 | 57 | 56.3 | 0.156 | 1.66 | 0 | 4.3 | 17.5 | 49.98 | OK
2025-06-12 06:00 | 0.24 | 57 | 56 | 0.196 | 0.97 | 31 | 5.8 | 17.7 | 50.038 | OK
2025-06-12 06:15 | 0.29 | 53 | 53.7 | 0.196 | 2.04 | 52 | 6 | 18.8 | 50.033 | OK
2025-06-12 06:30 | 0.5 | 56 | 54.7 | 0.198 | 2.14 | 28 | 2.1 | 18.9 | 49.994 | OK
2025-06-12 06:45 | 0.3 | 55 | 56.2 | 0.201 | 1 | 23 | 5.8 | 17.7 | 50.029 | OK
2025-06-12 07:00 | 1.17 | 57 | 55.9 | 0.227 | 1.39 | 167 | 7.5 | 18.4 | 50.044 | OK
2025-06-12 07:15 | 1.14 | 59 | 57.2 | 0.226 | 1.02 | 157 | 7.2 | 18.4 | 49.963 | OK
2025-06-12 07:30 | 1.03 | 59 | 55.4 | 0.23 | 0.85 | 171 | 6.3 | 19.2 | 50.049 | OK
2025-06-12 07:45 | 1.05 | 56 | 55.9 | 0.234 | 2.04 | 167 | 3.9 | 19 | 50.044 | OK
2025-06-12 08:00 | 2.39 | 63 | 59 | 0.258 | 1.49 | 362 | 7.5 | 19.8 | 50.022 | OK
2025-06-12 08:15 | 2.35 | 60 | 58.5 | 0.259 | 1.98 | 345 | 3.5 | 19.6 | 50.032 | OK
2025-06-12 08:30 | 2.59 | 63 | 57.5 | 0.263 | 1.91 | 394 | 4.8 | 21.4 | 49.954 | OK
2025-06-12 08:45 | 2.55 | 62 | 58 | 0.262 | 2.18 | 395 | 2.7 | 19.9 | 49.961 | OK
2025-06-12 09:00 | 3.95 | 69 | 59.7 | 0.279 | 1.93 | 584 | 2.6 | 21.6 | 49.978 | OK
2025-06-12 09:15 | 3.79 | 70 | 60.2 | 0.281 | 1.2 | 599 | 5.2 | 21.7 | 50.033 | OK
2025-06-12 09:30 | 3.88 | 68 | 60.2 | 0.279 | 1.85 | 596 | 4 | 21.5 | 50.041 | OK
2025-06-12 09:45 | 3.84 | 71 | 59.9 | 0.279 | 1.75 | 595 | 6.5 | 21.9 | 49.954 | OK
2025-06-12 10:00 | 5.09 | 73 | 64.5 | 0.29 | 1.46 | 819 | 2.1 | 21.5 | 49.983 | OK
2025-06-12 10:15 | 4.91 | 74 | 65.5 | 0.287 | 0.94 | 821 | 6.1 | 22.1 | 50.003 | OK
2025-06-12 10:30 | 4.97 | 74 | 64.5 | 0.289 | 1.9 | 780 | 6.1 | 23 | 50.028 | OK
2025-06-12 10:45 | 5.3 | 73 | 66.1 | 0.295 | 1.44 | 777 | 2 | 22.7 | 49.951 | OK
2025-06-12 11:00 | 5.82 | 79 | 70.1 | 0.273 | 0.86 | 916 | 2.6 | 21.8 | 49.955 | OK
2025-06-12 11:15 | 5.93 | 81 | 70.3 | 0.275 | 0.95 | 912 | 4.8 | 23 | 49.993 | OK
2025-06-12 11:30 | 5.92 | 82 | 70.4 | 0.27 | 1.94 | 950 | 2.3 | 22.9 | 49.987 | OK
2025-06-12 11:45 | 5.94 | 82 | 69.2 | 0.268 | 1.72 | 948 | 8 | 22.3 | 50.029 | OK
2025-06-12 12:00 | 6.47 | 84 | 75.2 | 0.252 | 1.82 | 996 | 4.2 | 22.2 | 49.955 | OK
2025-06-12 12:15 | 6.54 | 83 | 73.8 | 0.249 | 2.06 | 1014 | 4.3 | 22.9 | 50.019 | OK
2025-06-12 12:30 | 6.49 | 82 | 74.2 | 0.246 | 1.21 | 977 | 3.7 | 22.2 | 49.975 | WARN
2025-06-12 12:45 | 6.48 | 83 | 74.4 | 0.251 | 1.06 | 989 | 3.8 | 22.6 | 50.024 | OK
2025-06-12 13:00 | 6.01 | 81 | 74.6 | 0.241 | 1.27 | 975 | 2.6 | 22.7 | 50.038 | OK
2025-06-12 13:15 | 6.02 | 80 | 74 | 0.245 | 1.38 | 969 | 3.3 | 23.2 | 50.015 | OK
2025-06-12 13:30 | 6.21 | 83 | 74 | 0.239 | 2.06 | 964 | 3.6 | 23.2 | 49.97 | OK
2025-06-12 13:45 | 6.02 | 82 | 72.8 | 0.243 | 1.11 | 950 | 6.4 | 23.7 | 49.965 | OK
2025-06-12 14:00 | 5.47 | 77 | 72.5 | 0.246 | 1.57 | 852 | 5.3 | 22.5 | 49.971 | OK
2025-06-12 14:15 | 5.76 | 79 | 71.7 | 0.254 | 1.25 | 864 | 6.4 | 23.2 | 50.029 | OK
2025-06-12 14:30 | 5.67 | 77 | 73.3 | 0.252 | 1.58 | 893 | 6.4 | 23.1 | 50.044 | OK
2025-06-12 14:45 | 5.57 | 80 | 70.8 | 0.248 | 1.74 | 896 | 7.9 | 22.7 | 49.985 | OK
2025-06-12 15:00 | 4.6 | 73 | 69.3 | 0.271 | 1.49 | 728 | 4.1 | 21.6 | 49.974 | OK
2025-06-12 15:15 | 4.75 | 71 | 69.7 | 0.27 | 1.42 | 713 | 7.7 | 21.8 | 50 | OK
2025-06-12 15:30 | 4.83 | 72 | 68 | 0.271 | 1.44 | 716 | 4.2 | 20.6 | 49.953 | WARN
2025-06-12 15:45 | 4.54 | 72 | 68.6 | 0.268 | 1.75 | 748 | 7.6 | 21.1 | 49.997 | OK
2025-06-12 16:00 | 3.37 | 68 | 67.2 | 0.299 | 1.26 | 528 | 4.1 | 19.7 | 49.967 | OK
2025-06-12 16:15 | 3.38 | 72 | 65.1 | 0.297 | 0.93 | 537 | 3.7 | 19.7 | 49.959 | OK
2025-06-12 16:30 | 3.16 | 72 | 65.3 | 0.303 | 1.04 | 524 | 6.8 | 20.4 | 49.952 | OK
2025-06-12 16:45 | 3.29 | 72 | 64.7 | 0.295 | 2.16 | 502 | 3.9 | 21.3 | 50.037 | OK
2025-06-12 17:00 | 1.85 | 74 | 65.4 | 0.321 | 1.93 | 320 | 7.5 | 18.6 | 50.04 | OK
2025-06-12 17:15 | 1.72 | 73 | 64 | 0.323 | 0.98 | 288 | 1.8 | 19.6 | 49.966 | OK
2025-06-12 17:30 | 1.84 | 75 | 62.6 | 0.317 | 1.96 | 270 | 5.4 | 19.3 | 50.03 | OK
2025-06-12 17:45 | 1.8 | 74 | 64.2 | 0.321 | 1.31 | 324 | 8 | 19.8 | 49.96 | OK
2025-06-12 18:00 | 0.6 | 81 | 67.5 | 0.337 | 0.85 | 84 | 4 | 17.8 | 49.97 | OK
2025-06-12 18:15 | 0.72 | 78 | 67.9 | 0.341 | 1.83 | 106 | 7.5 | 18.7 | 49.958 | OK
2025-06-12 18:30 | 0.8 | 80 | 66.8 | 0.34 | 1.74 | 119 | 5.9 | 18.3 | 49.992 | OK
2025-06-12 18:45 | 0.79 | 78 | 66.7 | 0.336 | 1.84 | 132 | 6.2 | 18.6 | 50.043 | OK
2025-06-12 19:00 | 0 | 77 | 70.9 | 0.307 | 0.84 | 0 | 2.7 | 16.2 | 49.984 | OK
2025-06-12 19:15 | 0.11 | 77 | 71.5 | 0.309 | 1.33 | 35 | 6.8 | 17.4 | 50.045 | OK
2025-06-12 19:30 | 0 | 75 | 69.7 | 0.305 | 0.97 | 39 | 2.2 | 17 | 49.964 | OK
2025-06-12 19:45 | 0.21 | 74 | 70.6 | 0.315 | 0.86 | 38 | 3.5 | 15.9 | 50.018 | OK
2025-06-12 20:00 | 0 | 73 | 68 | 0.285 | 1.3 | 1 | 3.5 | 16.2 | 49.987 | OK
2025-06-12 20:15 | 0 | 71 | 67.5 | 0.285 | 1.16 | 18 | 5.1 | 14.9 | 50.028 | OK
2025-06-12 20:30 | 0 | 72 | 67.9 | 0.279 | 1.58 | 22 | 7.1 | 16.1 | 50.004 | OK
2025-06-12 20:45 | 0.06 | 74 | 69.8 | 0.283 | 1.31 | 28 | 1.9 | 14.9 | 49.954 | OK
2025-06-12 21:00 | 0.02 | 70 | 68.1 | 0.246 | 1.25 | 27 | 3.3 | 14.3 | 50.024 | WARN
2025-06-12 21:15 | 0.19 | 68 | 67.5 | 0.25 | 1.39 | 7 | 7.8 | 13.6 | 49.978 | OK
2025-06-12 21:30 | 0.02 | 67 | 66.7 | 0.254 | 1.76 | 0 | 3.6 | 15.3 | 49.987 | OK
2025-06-12 21:45 | 0 | 70 | 66.9 | 0.247 | 2.05 | 2 | 1.9 | 13.6 | 50.008 | OK
2025-06-12 22:00 | 0.15 | 68 | 66.4 | 0.22 | 1.55 | 0 | 3.5 | 13.8 | 50.018 | OK
2025-06-12 22:15 | 0 | 67 | 66.3 | 0.216 | 1.29 | 22 | 6.1 | 13.7 | 50.027 | OK
2025-06-12 22:30 | 0 | 68 | 65.1 | 0.221 | 0.95 | 0 | 3.5 | 13.5 | 50.031 | OK
2025-06-12 22:45 | 0.05 | 66 | 66.1 | 0.221 | 1.86 | 2 | 3 | 13.2 | 50.007 | OK
2025-06-12 23:00 | 0.01 | 63 | 62.3 | 0.203 | 1.57 | 0 | 4.9 | 12.8 | 50.008 | OK
2025-06-12 23:15 | 0.03 | 63 | 63.5 | 0.199 | 1.39 | 0 | 7.6 | 12.6 | 50.037 | OK
2025-06-12 23:30 | 0.07 | 63 | 63.5 | 0.197 | 1.87 | 29 | 6.9 | 14.2 | 50.014 | WARN
2025-06-12 23:45 | 0 | 63 | 61.7 | 0.201 | 0.92 | 16 | 6.9 | 13.8 | 50.008 | OK

## 2_AI_Decision_Log
AI CONTROLLER — DECISION LOG (15-min cycle)
Timestamp | Decision | Spot Price (€/kWh) | Solar (kW) | Batt. SOC (%) | Thermal (°C) | Irradiance (W/m²) | Energy Flow (kWh) | Revenue (€) | Rule Triggered | Confidence (%)
2025-06-12 | SELL | 0.178 | 0.14 | 70 | 61.1 | 0 | 1.68 | 0.3 | Price spike detected | 76
2025-06-12 00:15 | SELL | 0.186 | 0 | 70 | 60 | 17 | 1.88 | 0.35 | Price > €0.28 + SOC > 70% | 98
2025-06-12 00:30 | STORE | 0.179 | 0 | 74 | 61.1 | 19 | 2.73 |  | Thermal temp < 65°C | 74
2025-06-12 00:45 | USE | 0.184 | 0 | 71 | 61.6 | 25 | 2.27 |  | Low irradiance forecast | 74
2025-06-12 01:00 | STORE | 0.178 | 0 | 67 | 58.6 | 17 | 2.64 |  | Solar surplus + SOC < 80% | 75
2025-06-12 01:15 | SELL | 0.168 | 0.1 | 69 | 58.1 | 0 | 2.51 | 0.42 | High grid demand | 91
2025-06-12 01:30 | SELL | 0.169 | 0.11 | 66 | 58.4 | 0 | 2.73 | 0.46 | High grid demand | 91
2025-06-12 01:45 | SELL | 0.179 | 0.19 | 70 | 58.7 | 18 | 2.97 | 0.53 | High grid demand | 73
2025-06-12 02:00 | STORE | 0.164 | 0.04 | 63 | 57.8 | 2 | 3.21 |  | SOC < 60% | 81
2025-06-12 02:15 | USE | 0.164 | 0 | 65 | 59 | 15 | 1.41 |  | Night load coverage | 94
2025-06-12 02:30 | STORE | 0.165 | 0.14 | 64 | 59.4 | 7 | 2.9 |  | Thermal temp < 65°C | 80
2025-06-12 02:45 | SELL | 0.162 | 0.03 | 64 | 59.4 | 10 | 0.69 | 0.11 | Evening peak pricing | 73
2025-06-12 03:00 | STORE | 0.146 | 0.11 | 61 | 56.1 | 13 | 0.56 |  | Solar surplus + SOC < 80% | 94
2025-06-12 03:15 | SELL | 0.156 | 0.16 | 60 | 56.9 | 23 | 0.61 | 0.1 | Price spike detected | 73
2025-06-12 03:30 | SELL | 0.141 | 0 | 64 | 57.3 | 2 | 0.75 | 0.11 | Price > €0.28 + SOC > 70% | 99
2025-06-12 03:45 | USE | 0.147 | 0.1 | 61 | 58.3 | 0 | 2.25 |  | Battery buffer | 75
2025-06-12 04:00 | STORE | 0.142 | 0 | 57 | 56.8 | 9 | 1.5 |  | Midday solar surplus | 98
2025-06-12 04:15 | SELL | 0.156 | 0 | 60 | 57.9 | 0 | 2.66 | 0.41 | Evening peak pricing | 85
2025-06-12 04:30 | STORE | 0.156 | 0.15 | 57 | 56 | 0 | 1.96 |  | Thermal temp < 65°C | 80
2025-06-12 04:45 | USE | 0.153 | 0 | 55 | 56 | 0 | 3.49 |  | Cloudy period ahead | 94
2025-06-12 05:00 | SELL | 0.151 | 0.11 | 59 | 55.4 | 16 | 1 | 0.15 | High grid demand | 86
2025-06-12 05:15 | SELL | 0.154 | 0.05 | 56 | 55.8 | 23 | 2.83 | 0.44 | Evening peak pricing | 93
2025-06-12 05:30 | STORE | 0.168 | 0 | 54 | 56.5 | 17 | 2.48 |  | Midday solar surplus | 94
2025-06-12 05:45 | STORE | 0.169 | 0 | 56 | 55.6 | 0 | 2.54 |  | Midday solar surplus | 76
2025-06-12 06:00 | SELL | 0.206 | 0.2 | 56 | 56.9 | 45 | 0.61 | 0.13 | Price spike detected | 83
2025-06-12 06:15 | SELL | 0.205 | 0.26 | 54 | 56 | 46 | 2.36 | 0.48 | Price > €0.28 + SOC > 70% | 96
2025-06-12 06:30 | STORE | 0.191 | 0.43 | 58 | 56 | 46 | 0.81 |  | SOC < 60% | 77
2025-06-12 06:45 | USE | 0.197 | 0.33 | 53 | 56.4 | 75 | 1.62 |  | Night load coverage | 97
2025-06-12 07:00 | STORE | 0.23 | 1.01 | 55 | 55.2 | 148 | 3.29 |  | SOC < 60% | 96
2025-06-12 07:15 | SELL | 0.235 | 0.82 | 55 | 57.1 | 137 | 0.78 | 0.18 | Price > €0.28 + SOC > 70% | 94
2025-06-12 07:30 | SELL | 0.222 | 0.98 | 60 | 56.8 | 137 | 1.59 | 0.35 | High grid demand | 93
2025-06-12 07:45 | SELL | 0.227 | 1.17 | 59 | 57 | 136 | 2.91 | 0.66 | Price > €0.28 + SOC > 70% | 98
2025-06-12 08:00 | STORE | 0.268 | 2.25 | 61 | 59.3 | 351 | 2.88 |  | Thermal temp < 65°C | 96
2025-06-12 08:15 | USE | 0.267 | 2.54 | 61 | 58.4 | 374 | 1.22 |  | Battery buffer | 93
2025-06-12 08:30 | STORE | 0.268 | 2.31 | 64 | 58.4 | 396 | 3.26 |  | SOC < 60% | 91
2025-06-12 08:45 | SELL | 0.27 | 2.5 | 63 | 59.6 | 402 | 2.21 | 0.6 | High grid demand | 97
2025-06-12 09:00 | STORE | 0.287 | 3.75 | 70 | 62.8 | 592 | 2.49 |  | Solar surplus + SOC < 80% | 99
2025-06-12 09:15 | SELL | 0.279 | 3.81 | 71 | 60.1 | 595 | 2.63 | 0.73 | High grid demand | 85
2025-06-12 09:30 | SELL | 0.274 | 3.73 | 71 | 61.6 | 606 | 2.78 | 0.76 | Price spike detected | 74
2025-06-12 09:45 | USE | 0.29 | 3.71 | 72 | 60.2 | 604 | 3.16 |  | Battery buffer | 91
2025-06-12 10:00 | STORE | 0.296 | 5.27 | 77 | 65.1 | 813 | 0.66 |  | Thermal temp < 65°C | 84
2025-06-12 10:15 | SELL | 0.29 | 5.04 | 77 | 64.4 | 825 | 2.62 | 0.76 | Evening peak pricing | 78
2025-06-12 10:30 | STORE | 0.294 | 5.05 | 77 | 66.5 | 775 | 3.49 |  | Solar surplus + SOC < 80% | 73
2025-06-12 10:45 | USE | 0.283 | 5.03 | 73 | 64.5 | 772 | 1.64 |  | Low irradiance forecast | 74
2025-06-12 11:00 | SELL | 0.279 | 6.02 | 78 | 69.9 | 966 | 2.98 | 0.83 | High grid demand | 92
2025-06-12 11:15 | SELL | 0.27 | 6.05 | 78 | 70.7 | 966 | 3.05 | 0.82 | Evening peak pricing | 95
2025-06-12 11:30 | STORE | 0.275 | 6.12 | 81 | 71.6 | 966 | 3.31 |  | Thermal temp < 65°C | 99
2025-06-12 11:45 | STORE | 0.269 | 5.97 | 82 | 70.7 | 944 | 2.41 |  | Midday solar surplus | 92
2025-06-12 12:00 | SELL | 0.247 | 6.31 | 84 | 74.2 | 1027 | 1.91 | 0.47 | Price > €0.28 + SOC > 70% | 95
2025-06-12 12:15 | SELL | 0.247 | 6.43 | 85 | 73.1 | 1022 | 1.15 | 0.28 | High grid demand | 79
2025-06-12 12:30 | STORE | 0.24 | 6.43 | 84 | 73.3 | 1025 | 0.71 |  | Midday solar surplus | 73
2025-06-12 12:45 | USE | 0.243 | 6.59 | 82 | 75 | 1029 | 3 |  | Cloudy period ahead | 96
2025-06-12 13:00 | STORE | 0.237 | 6.19 | 85 | 74.3 | 973 | 1.25 |  | SOC < 60% | 77
2025-06-12 13:15 | SELL | 0.238 | 6.34 | 80 | 74.1 | 940 | 3.28 | 0.78 | High grid demand | 98
2025-06-12 13:30 | SELL | 0.245 | 6.26 | 82 | 73.3 | 996 | 3.4 | 0.83 | Price spike detected | 99
2025-06-12 13:45 | SELL | 0.243 | 6.22 | 82 | 75.7 | 967 | 1 | 0.24 | Evening peak pricing | 84
2025-06-12 14:00 | STORE | 0.24 | 5.74 | 81 | 72.2 | 902 | 2.98 |  | Thermal temp < 65°C | 74
2025-06-12 14:15 | USE | 0.251 | 5.71 | 81 | 72.3 | 859 | 2.96 |  | Night load coverage | 90
2025-06-12 14:30 | STORE | 0.247 | 5.66 | 78 | 72 | 878 | 3.45 |  | Solar surplus + SOC < 80% | 96
2025-06-12 14:45 | SELL | 0.25 | 5.7 | 80 | 71.2 | 898 | 2.25 | 0.56 | Price spike detected | 86
2025-06-12 15:00 | STORE | 0.28 | 4.84 | 72 | 68.7 | 707 | 2.79 |  | Solar surplus + SOC < 80% | 80
2025-06-12 15:15 | SELL | 0.274 | 4.68 | 73 | 69.5 | 754 | 2.23 | 0.61 | Price spike detected | 86
2025-06-12 15:30 | SELL | 0.277 | 4.57 | 73 | 69.2 | 750 | 0.71 | 0.2 | Price > €0.28 + SOC > 70% | 78
2025-06-12 15:45 | USE | 0.271 | 4.64 | 73 | 70.7 | 749 | 1.61 |  | Low irradiance forecast | 93
2025-06-12 16:00 | STORE | 0.297 | 3.14 | 72 | 67.5 | 503 | 3.14 |  | Midday solar surplus | 97
2025-06-12 16:15 | SELL | 0.297 | 3.12 | 69 | 65.5 | 513 | 1.42 | 0.42 | High grid demand | 98
2025-06-12 16:30 | STORE | 0.306 | 3.27 | 71 | 67.5 | 508 | 2.7 |  | SOC < 60% | 84
2025-06-12 16:45 | USE | 0.3 | 3.23 | 72 | 65.2 | 523 | 1.35 |  | Low irradiance forecast | 83
2025-06-12 17:00 | SELL | 0.314 | 1.91 | 77 | 64.8 | 292 | 0.57 | 0.18 | Price > €0.28 + SOC > 70% | 76
2025-06-12 17:15 | SELL | 0.313 | 2.02 | 76 | 63.1 | 315 | 1.07 | 0.33 | Price > €0.28 + SOC > 70% | 96
2025-06-12 17:30 | STORE | 0.312 | 2.03 | 73 | 65.6 | 325 | 1.53 |  | Midday solar surplus | 79
2025-06-12 17:45 | STORE | 0.328 | 1.94 | 74 | 63.1 | 275 | 2.9 |  | Solar surplus + SOC < 80% | 97
2025-06-12 18:00 | SELL | 0.35 | 0.69 | 80 | 68.5 | 88 | 3.5 | 1.22 | Price > €0.28 + SOC > 70% | 94
2025-06-12 18:15 | SELL | 0.338 | 0.53 | 77 | 68.3 | 89 | 0.77 | 0.26 | High grid demand | 77
2025-06-12 18:30 | STORE | 0.339 | 0.88 | 82 | 68 | 80 | 3.04 |  | Midday solar surplus | 96
2025-06-12 18:45 | USE | 0.347 | 0.67 | 82 | 69.1 | 108 | 1.91 |  | Battery buffer | 82
2025-06-12 19:00 | STORE | 0.309 | 0.19 | 76 | 70.4 | 6 | 0.55 |  | Thermal temp < 65°C | 76
2025-06-12 19:15 | SELL | 0.311 | 0.22 | 77 | 72.6 | 37 | 1.2 | 0.37 | Price spike detected | 93
2025-06-12 19:30 | SELL | 0.315 | 0.19 | 78 | 72.5 | 3 | 2.11 | 0.66 | High grid demand | 78
2025-06-12 19:45 | SELL | 0.318 | 0 | 79 | 71.4 | 23 | 0.8 | 0.25 | Price > €0.28 + SOC > 70% | 93
2025-06-12 20:00 | STORE | 0.273 | 0 | 71 | 68.8 | 26 | 1.13 |  | Solar surplus + SOC < 80% | 73
2025-06-12 20:15 | USE | 0.274 | 0 | 75 | 69.2 | 24 | 3.42 |  | Cloudy period ahead | 95
2025-06-12 20:30 | STORE | 0.271 | 0 | 71 | 68.1 | 0 | 1.14 |  | Thermal temp < 65°C | 87
2025-06-12 20:45 | SELL | 0.278 | 0.13 | 74 | 69.5 | 18 | 1.92 | 0.53 | Price spike detected | 80
2025-06-12 21:00 | STORE | 0.242 | 0.19 | 72 | 66.9 | 0 | 2.42 |  | Thermal temp < 65°C | 93
2025-06-12 21:15 | SELL | 0.258 | 0.13 | 68 | 68.4 | 0 | 2.44 | 0.63 | Price spike detected | 82
2025-06-12 21:30 | SELL | 0.259 | 0.05 | 70 | 68.3 | 5 | 2.1 | 0.54 | Price > €0.28 + SOC > 70% | 82
2025-06-12 21:45 | USE | 0.257 | 0.09 | 67 | 68.2 | 20 | 1.41 |  | Night load coverage | 76
2025-06-12 22:00 | STORE | 0.222 | 0 | 66 | 64.3 | 29 | 0.52 |  | Solar surplus + SOC < 80% | 86
2025-06-12 22:15 | SELL | 0.211 | 0.14 | 68 | 66.4 | 0 | 0.8 | 0.17 | Price spike detected | 93
2025-06-12 22:30 | STORE | 0.225 | 0 | 64 | 65.4 | 0 | 3.18 |  | Thermal temp < 65°C | 80
2025-06-12 22:45 | USE | 0.227 | 0 | 68 | 66.9 | 24 | 2.36 |  | Night load coverage | 77
2025-06-12 23:00 | SELL | 0.196 | 0.04 | 63 | 64.1 | 0 | 1.64 | 0.32 | High grid demand | 87
2025-06-12 23:15 | SELL | 0.192 | 0 | 64 | 63.1 | 0 | 1.04 | 0.2 | Price > €0.28 + SOC > 70% | 82
2025-06-12 23:30 | STORE | 0.197 | 0.08 | 67 | 64.2 | 0 | 1.86 |  | Solar surplus + SOC < 80% | 77
2025-06-12 23:45 | STORE | 0.197 | 0 | 61 | 64.3 | 20 | 2.99 |  | Midday solar surplus | 92

## 3_Daily_Summary
DAILY ENERGY SUMMARY — 30-day period
Date | Solar Coll. (kWh) | Thermal Stored (kWh) | Batt. Charged (kWh) | Home Consumed (kWh) | Sold to Grid (kWh) | Avg Spot Price (€/kWh) | Grid Revenue (€) | Grid Import (kWh) | Grid Import Cost (€) | Net Revenue (€) | Self-Suff. (%) | CO₂ Avoided (kg) | Peak Solar (kW)
2025-05-14 | 19.1 | 8.4 | 5.9 | 14.1 | 0 | 0.24 | 0 | 5.4 | 1.78 | -1.78 | 61.7 | 7.7 | 6.61
2025-05-15 | 21.2 | 9.5 | 5.9 | 10.1 | 0 | 0.26 | 0 | 1.7 | 0.59 | -0.59 | 83.2 | 8.5 | 6.07
2025-05-16 | 15.6 | 7.3 | 4.7 | 13.4 | 0 | 0.3 | 0 | 5.3 | 1.54 | -1.54 | 60.4 | 6.3 | 6.31
2025-05-17 | 34.5 | 12.4 | 9.3 | 12.5 | 1.7 | 0.3 | 0.51 | 0 | 0 | 0.51 | 100 | 13.8 | 5.55
2025-05-18 | 34.7 | 16.3 | 11.1 | 10.7 | 0 | 0.24 | 0 | 0 | 0 | 0 | 100 | 13.9 | 5.47
2025-05-19 | 24.7 | 9.4 | 7.4 | 9.7 | 0 | 0.22 | 0 | 1.6 | 0.48 | -0.48 | 83.5 | 9.9 | 5.96
2025-05-20 | 26.9 | 12.4 | 8.3 | 12.1 | 0 | 0.24 | 0 | 2.5 | 0.93 | -0.93 | 79.3 | 10.8 | 6.23
2025-05-21 | 30.2 | 11.8 | 7.2 | 10 | 0.3 | 0.28 | 0.08 | 0 | 0 | 0.08 | 100 | 12.1 | 6.31
2025-05-22 | 30.8 | 12.9 | 6.5 | 14.9 | 0 | 0.3 | 0 | 0.8 | 0.22 | -0.22 | 94.6 | 12.4 | 5.4
2025-05-23 | 33.9 | 14.2 | 10.8 | 13.4 | 0 | 0.34 | 0 | 0.2 | 0.06 | -0.06 | 98.5 | 13.6 | 6.31
2025-05-24 | 20.4 | 10 | 5.9 | 13.3 | 0 | 0.25 | 0 | 4.9 | 1.76 | -1.76 | 63.2 | 8.2 | 5.07
2025-05-25 | 34.6 | 14.5 | 7.6 | 13.9 | 0 | 0.25 | 0 | 0 | 0 | 0 | 100 | 13.9 | 5.31
2025-05-26 | 16.3 | 6.5 | 4.9 | 9.9 | 0 | 0.22 | 0 | 2.9 | 0.87 | -0.87 | 70.7 | 6.5 | 6.33
2025-05-27 | 31.7 | 12.4 | 10.1 | 10.4 | 0.7 | 0.26 | 0.18 | 0 | 0 | 0.18 | 100 | 12.7 | 6.92
2025-05-28 | 25.4 | 11.2 | 5.6 | 9.2 | 0.9 | 0.34 | 0.31 | 0 | 0 | 0.31 | 100 | 10.2 | 6.49
2025-05-29 | 26.7 | 12.8 | 6.1 | 10.3 | 0 | 0.32 | 0 | 0 | 0 | 0 | 100 | 10.7 | 6.24
2025-05-30 | 19.8 | 8.1 | 4.4 | 13.5 | 0 | 0.3 | 0 | 6.6 | 1.91 | -1.91 | 51.1 | 7.9 | 6.85
2025-05-31 | 37.5 | 18.8 | 12 | 15.5 | 0 | 0.26 | 0 | 0 | 0 | 0 | 100 | 15 | 5.27
2025-06-01 | 23.4 | 10.5 | 4.9 | 9.3 | 0 | 0.32 | 0 | 1.1 | 0.31 | -0.31 | 88.2 | 9.4 | 5.57
2025-06-02 | 27 | 11.1 | 8.9 | 15.8 | 0 | 0.31 | 0 | 5.4 | 1.57 | -1.57 | 65.8 | 10.8 | 6.95
2025-06-03 | 23.7 | 11.6 | 4.7 | 13.9 | 0 | 0.22 | 0 | 5.8 | 1.97 | -1.97 | 58.3 | 9.5 | 5.46
2025-06-04 | 27.3 | 12.8 | 8.2 | 14.6 | 0 | 0.28 | 0 | 2.3 | 0.85 | -0.85 | 84.2 | 10.9 | 5.06
2025-06-05 | 31.6 | 14.9 | 7.3 | 10.2 | 0.1 | 0.27 | 0.03 | 0 | 0 | 0.03 | 100 | 12.7 | 6.27
2025-06-06 | 30.2 | 11.5 | 6 | 9.4 | 5.1 | 0.32 | 1.63 | 0 | 0 | 1.63 | 100 | 12.1 | 6.07
2025-06-07 | 21.5 | 10.5 | 5.4 | 15.1 | 0 | 0.26 | 0 | 5.5 | 1.76 | -1.76 | 63.6 | 8.6 | 6.08
2025-06-08 | 21.6 | 10.8 | 4.5 | 15 | 0 | 0.23 | 0 | 8.3 | 3.15 | -3.15 | 44.7 | 8.7 | 5.22
2025-06-09 | 25.9 | 12.9 | 5.4 | 15.2 | 0 | 0.32 | 0 | 4.3 | 1.42 | -1.42 | 71.7 | 10.4 | 6.64
2025-06-10 | 26.5 | 10.3 | 6.1 | 14.8 | 0 | 0.32 | 0 | 2.3 | 0.83 | -0.83 | 84.5 | 10.6 | 5.16
2025-06-11 | 30.9 | 14.5 | 10.5 | 13 | 0 | 0.29 | 0 | 0 | 0 | 0 | 100 | 12.4 | 7.15
2025-06-12 | 34.3 | 13 | 9.3 | 11.4 | 0.5 | 0.29 | 0.14 | 0 | 0 | 0.14 | 100 | 13.8 | 5.83
TOTALS | 807.9 | 353.3 | 214.9 | 374.6 | 9.3 |  | 2.88 | 66.9 | 22 | -19.12 |  | 324

## 4_System_Config
SYSTEM CONFIGURATION & AI RULE ASSUMPTIONS
── SOLAR SYSTEM
Panel Capacity | 6.4 | kWp | Total installed peak power
Panel Efficiency | 0.21 | % | Monocrystalline cells
Inverter Efficiency | 0.97 | % | SMA or Fronius
Panel Tilt | 35 | degrees | Optimal for Southern Germany
Panel Azimuth | 180 | degrees | South-facing
── BATTERY STORAGE
Battery Capacity | 12.5 | kWh | Usable capacity
Max Charge Rate | 5 | kW | C-rate limited
Max Discharge Rate | 5 | kW
Round-trip Efficiency | 0.92 | % | Li-ion typical
Min SOC (safety) | 0.1 | % | Prevents deep discharge
Max SOC (longevity) | 0.95 | % | Extends cycle life
── THERMAL STORAGE
Tank Volume | 800 | liters | Hot water thermal buffer
Max Temperature | 85 | °C | Safety limit
Min Usable Temperature | 45 | °C | Below unusable for heating
Heat Loss per Hour | 0.3 | °C | Well-insulated tank
Thermal Capacity | 0.93 | kWh/°C | (4186 J/kg/K × 800L)
Target Hold Duration | 72 | hours | 3-day storage goal
── AI DECISION THRESHOLDS (edit these)
SELL threshold — price | 0.28 | €/kWh | Sell if price > this
SELL threshold — SOC | 0.7 | % | And SOC > this
STORE threshold — SOC max | 0.8 | % | Stop charging battery above
STORE thermal target | 75 | °C | Target water temperature
USE threshold — price | 0.18 | €/kWh | Use stored if price < this
Grid import fallback SOC | 0.2 | % | Import from grid below this
Forecast horizon | 6 | hours | Look-ahead window for decisions
── FINANCIAL
Feed-in tariff (Einspeisung) | 0.082 | €/kWh | Fixed EEG compensation
Grid import price | 0.32 | €/kWh | Current household tariff
CO₂ factor Germany | 0.401 | kg/kWh | Bundesnetzagentur 2024
── SENSORS (6 prototype sensors)
Sensor 1 — Solar output | SCT-013 | Current | Clamp sensor on inverter output
Sensor 2 — Battery SOC | BMS UART | Protocol | From BMS via serial
Sensor 3 — Thermal temp | DS18B20 | 1-Wire | Waterproof probe in tank
Sensor 4 — Grid meter | PZEM-004T | UART | Bidirectional energy meter
Sensor 5 — Irradiance | BH1750 | I2C | Solar irradiance sensor
Sensor 6 — Ambient temp | DHT22 | Digital | Outside temperature

## 5_Weekly_Performance
WEEKLY PERFORMANCE TRACKER
Week | Start Date | Solar (kWh) | Thermal (kWh) | Sold (kWh) | Revenue (€) | Cost Saved (€) | Net Gain (€) | Self-Suff (%)
W1 | 2025-04-07 | 123.5 | 48.2 | 42 | 10.5 | 20.36 | 30.86 | 84.5
W2 | 2025-04-14 | 187.3 | 69.3 | 65.6 | 18.37 | 34.66 | 53.03 | 91.8
W3 | 2025-04-21 | 181 | 72.4 | 79.6 | 20.7 | 19.62 | 40.32 | 75.9
W4 | 2025-04-28 | 188.7 | 77.4 | 73.6 | 22.82 | 31.39 | 54.21 | 86.2
W5 | 2025-05-05 | 154.9 | 69.7 | 65.1 | 16.27 | 34.49 | 50.76 | 84.8
W6 | 2025-05-12 | 180.8 | 81.4 | 57.9 | 13.9 | 24.17 | 38.07 | 83.1
W7 | 2025-05-19 | 129.1 | 52.9 | 45.2 | 13.11 | 33.16 | 46.27 | 74.4
W8 | 2025-05-26 | 195.6 | 84.1 | 70.4 | 16.9 | 32.96 | 49.86 | 80.8
W9 | 2025-06-02 | 195.3 | 80.1 | 82 | 24.6 | 24.45 | 49.05 | 85.8
W10 | 2025-06-09 | 132.2 | 51.6 | 42.3 | 13.11 | 23.35 | 36.46 | 84.1
W11 | 2025-06-16 | 128.7 | 47.6 | 45 | 13.5 | 18.2 | 31.7 | 72.4
W12 | 2025-06-23 | 198.7 | 75.5 | 75.5 | 24.16 | 16.91 | 41.07 | 75.7
TOTAL |  | 1995.8 | 810.2 | 744.2 | 207.94 | 313.72 | 521.66